Outside excavated for concrete poured higher than the base of the existing footing.

Ground inside basement excavated for bulkhead construction and concrete backfill.

2.5” bracing to hold back concrete pour and allow dry pack.

26”

30”

64”

12”

30”

Dig out both the inside and outside of the wall for each section.