## Demi Water Tank No.1
NDE Map for Demi Water Tank No.1
Legend |  | Vertical spot radiograph in accordance with 8.1.2.2, Item a: one in the first 3 m (10 ft) and one in each 30 m (100 ft) thereafter, 25 % of which shall be at intersections.
Horizontal spot radiograph in accordance with 8.1.2.3: one in the first 3 m (10 ft) and one in each 60 m (200 ft) thereafter.
Vertical spot radiograph in each vertical seam in the lowest course (see 8.1.2.2, Item b). Spot radiographs that satisfy the requirements of Note 1 for the lowest course may be used to satisfy this requirement.
Spot radiographs of all intersections over 10 mm (3/8 in.) (see 8.1.2.2, Item b).
Spot radiograph of bottom of each vertical seam in lowest shell course over 10 mm (3/8 in.) (see 8.1.2.2, Item b).
RT penalty
RT rejected
1VL1
1VL2
1VL3
1VL4
1VL5
1VL6
1VL7
1VL8
1VL9
1VL10
1VL11
1VL12
1V1
1V2
1V3
1V4
1V5
1V6
1V7
1V8
1V9
1V10
1V11
1V12
H1-1
H1-2
H2-1
H2-2
H3-1
H3-2
H4-1
H4-2
H5-1
H5-2
H6-1
H6-2
H7-1
H7-2
2V1-T2
1V1-T1
2V1
2V4
2V7
2V10

## Demi Water Tank No.2
NDE Map for Demi Water Tank No.2
1VL1
1VL2
1VL3
1VL4
1VL5
1VL6
1VL7
1VL8
1VL9
1VL10
1VL11
1VL12
1V1
1V2
1V3
1V4
1V5
1V6
1V7
1V8
1V9
1V10
1V11
1V12
H1-1
H1-2
H2-1
H2-2
H3-1
H3-2
H4-1
H4-2
H5-1
H5-2
H6-1
H6-2
H7-1
H7-2
2V1-T2
1V1-T1

## Desalinated Water Tank No.1
NDE Map for Desalinated Water Tank No.1
1VL1
1VL2
1VL3
1VL4
1VL5
1VL6
1V1
1V2
1V3
1V4
1V5
1V6
2V1-T2
H3-1
H4-1
H5-1
H2-1
H1-1
1V1-T1
2V1
2V4
3V1
3V4
4V1
4V4
5V1
5V4
6V2
6V5

## Desalinated Water Tank No.2
NDE Map for Desalinated Water Tank No.2
1VL1
1VL2
1VL3
1VL4
1VL5
1VL6
1V1
1V2
1V3
1V4
1V5
1V6
2V1-T2
H3-1
H4-1
H5-1
H2-1
H1-1
1V1-T1
2V1
2V4
3V1
3V4
4V1
4V4
5V1
5V4
6V2
6V5

## Fire Water Tank No.1
NDE Map for Fire Water Tank No.1
1VL1
1VL2
1VL3
1VL4
1VL5
1VL6
1VL7
1VL8
1VL9
1VL10
1V1
1V2
1V3
1V4
1V5
1V6
1V7
1V8
1V9
1V10
H1-1
H1-2
H2-1
H2-2
H3-1
H3-2
H4-1
H4-2
H5-1
H5-2
H6-1
H6-2
2V1-T2
1V1-T1
2V1
2V4
2V7

## Fire Water Tank No.2
NDE Map for Fire Water Tank No.2
1VL1
1VL2
1VL3
1VL4
1VL5
1VL6
1VL7
1VL8
1VL9
1VL10
1V1
1V2
1V3
1V4
1V5
1V6
1V7
1V8
1V9
1V10
H1-1
H1-2
H2-1
H2-2
H3-1
H3-2
H4-1
H4-2
H5-1
H5-2
H6-1
H6-2
2V1-T2
1V1-T1
2V1
2V4
2V7

## Fuel Oil Tank No.1
NDE Map for Fuel Oil Tank No.1
1VL1
1VL2
1VL3
1VL4
1VL5
1VL6
1VL7
1VL8
1VL9
1VL10
1VL11
1VL12
1V1
1V2
1V3
1V4
1V5
1V6
1V7
1V8
1V9
1V10
1V11
1V12
H1-1
H1-2
H2-1
H2-2
H3-1
H3-2
H4-1
H4-2
H5-1
H5-2
H6-1
H6-2
H7-1
H7-2
2V1-T2
1V1-T1
2V1
2V4
2V7
2V10
H7-3
H6-3
H5-3
H4-3
H3-3
H2-3
H1-3
1VL13
1VL14
1VL15
1VL16
1V13
1V14
1V15
1V16
2V13
3V13

## Fuel Oil Tank No.2
NDE Map for Fuel Oil Tank No.2
1VL1
1VL2
1VL3
1VL4
1VL5
1VL6
1VL7
1VL8
1VL9
1VL10
1VL11
1VL12
1V1
1V2
1V3
1V4
1V5
1V6
1V7
1V8
1V9
1V10
1V11
1V12
H1-1
H1-2
H2-1
H2-2
H3-1
H3-2
H4-1
H4-2
H5-1
H5-2
H6-1
H6-2
H7-1
H7-2
2V1-T2
1V1-T1
2V1
2V4
2V7
2V10
H7-3
H6-3
H5-3
H4-3
H3-3
H2-3
H1-3
1VL13
1VL14
1VL15
1VL16
1V13
1V14
1V15
1V16
2V13
3V13

## Potable Water Tank
NDE Map for Potable Water Tank
1VL1
1VL2
1V1
1V2
2V1-T2
H2-1
H1-1
1V1-T1
2V1
3V1

## Service Water Tank No.1
NDE Map for Service Water Tank No.1
1VL1
1VL2
1VL3
1VL4
1V1
1V2
1V3
1V4
2V1-T2
H3-1
H4-1
H2-1
H1-1
1V1-T1
2V1
3V1
4V1
5V1

## Service Water Tank No.2
NDE Map for Service Water Tank No.2
1VL1
1VL2
1VL3
1VL4
1V1
1V2
1V3
1V4
2V1-T2
H3-1
H4-1
H2-1
H1-1
1V1-T1
2V1
3V1
4V1
5V1